## Dashboard
Swan Care Home - Fire Compliance Dashboard
Metric | Value | Renewals Due / Overdue | Date | RAG | Open Fire Actions | Target | RAG
Overall Compliance % |  | Emergency Lighting | 2026-09-01 | Green | Fire door compliance monitoring required | 2026-07-15 | Yellow
Renewals Current % | 86.67% | Fire Alarm System Maintenance | 2026-09-01 | Green | Annual/monthly testing evidence must be current | 2026-07-05 | Green
Action Plan Complete % | 20% | Fire Equipment / Extinguishers | 2027-03-01 | Green | Horizontal evacuation drill evidence required | 2026-07-20 | Yellow
Fire Marshal Training Current % | 100% | Lift Inspection | 2026-04-01 | Red | Fire marshal training to be recorded for staff | 2026-07-10 | Yellow
Fire Training Current % | 0% | Clinical Waste Certificate | 2027-05-01 | Green | Needs replacing | 2026-07-15 | Yellow
Reg Evidence Current % | 0% | PAT Testing of Electrical Equipment | 2026-10-01 | Green | 0 | 0
Overall RAG |  | BIOMASS Boiler | 2026-11-26 | Green | 0 | 0
Overdue Renewals | 1 | LOLER Hoist and Slings | 2026-08-01 | Yellow | 0 | 0
Open Actions | 4 | Legionella Testing | 2027-09-30 | Green | 0 | 0
|  | Fire Risk Assessment / Risk Assessments | 2027-06-02 | Green | 0 | 0
This workbook records fire compliance only. Evidence is not embedded; the Regulatory Evidence Index records where evidence is stored and who verified it.
|  | ICO Registration | 2027-01-01 | Green
|  | Electrical Safety / EICR | 2028-07-01 | Green
|  | Lift service | 2027-05-15 | Green

## Renewal Register
Certificate & Renewal Register - No Evidence Saved in Workbook
Certificate / Requirement | Contractor / Provider | Frequency | Last Completed | Next Renewal Date | Days Remaining | Reminder | Status | RAG | Responsible Person | Comments
Emergency Lighting | G.P. MASONS | 6 monthly / yearly | 2026-03-11 | 2026-09-01 | 63 | In date | Current | Green | Maintenance / Manager | Completed awaiting report
Fire Alarm System Maintenance | G.P. MASON | 6 monthly | 2026-03-11 | 2026-09-01 | 63 | In date | Current | Green | Maintenance / Manager | Completed awaiting report
Fire Equipment / Extinguishers | Contractor | Annually | 2026-03-11 | 2027-03-01 | 244 | In date | Current | Green | Maintenance / Manager | Completed awaiting report
Lift Inspection | Contractor | 6 months | 2025-10-01 | 2026-04-01 | -90 | OVERDUE | Overdue | Red | Maintenance / Manager | Renewal due from uploaded certificate list
Clinical Waste Certificate | Contractor | Annually | 2026-05-01 | 2027-05-01 | 305 | In date | Current | Green | Registered Manager | Renewal due May 2026 from uploaded list
PAT Testing of Electrical Equipment | Contractor | Annually | 2025-10-01 | 2026-10-01 | 93 | In date | Current | Green | Maintenance | Renewal due October 2026
BIOMASS Boiler | Remote Service | Annually | 2025-11-26 | 2026-11-26 | 149 | In date | Current | Green | Maintenance | Remotely serviced 04/07/2025
LOLER Hoist and Slings | Contractor | 6 monthly | 2026-02-01 | 2026-08-01 | 32 | Due within 60 days | Due Soon | Yellow | Maintenance / Manager | Completed in Feb awaiting report
Legionella Testing | Contractor | Every 2 years | 2025-09-30 | 2027-09-30 | 457 | In date | Current | Green | Registered Manager | Next due Sept 2027
Fire Risk Assessment / Risk Assessments | Competent person | Annually | 2026-06-02 | 2027-06-02 | 337 | In date | Current | Green | Registered Manager | Annual review due November
Employer's Liability | Insurer | Annually | 2026-05-02 | 2027-05-02 | 306 | In date | Current | Green | Director | Renewal due May 2026
ICO Registration | ICO | Annually | 2026-01-02 | 2027-01-01 | 185 | In date | Current | Green | Director | Next due Jan 2027
Electrical Safety / EICR | Electrician | 5 years | 2023-07-01 | 2028-07-01 | 732 | In date | Current | Green | Maintenance / Manager | Next due July 2028
Lift service | Elevators LTD | Annual | 2026-05-15 | 2027-05-15 | 319 | In date | Current | Green | Maintenance / Manager | Next due July 2029
Asbestos | Envirochem | Annual | 2026-04-27 | 2027-04-27 | 301 | In date | Current | Green | Maintenance / Manager | Next due July 2030
Formulas:
Days Remaining = IF([Next Renewal Date]="","",[Next Renewal Date]-TODAY())
Reminder = IF([Next Renewal Date]="","No date",IF([Next Renewal Date]<TODAY(),"OVERDUE",IF([Next Renewal Date]<=TODAY()+30,"Due within 30 days",IF([Next Renewal Date]<=TODAY()+60,"Due within 60 days","In date"))))
Status = IF([Next Renewal Date]="","Missing Date",IF([Next Renewal Date]<TODAY(),"Overdue",IF([Next Renewal Date]<=TODAY()+60,"Due Soon","Current")))

## Fire Action Plan
Fire Action Plan - Owner, Target Date, Completion Date & Verification
Ref | Area | Issue Identified | Risk | Action Required | Priority | Action Owner | Target Date | Completion Date | Verification / Evidence Seen | Verified By | Status | RAG | Comments
FAP001 | Fire Doors | Fire door compliance monitoring required | High | Complete full door inspection and log all repairs | High | Maintenance Manager | 2026-07-15 |  | Inspection report reviewed, repair invoice/photo reference | Registered Manager | In Progress | Yellow | Currently undergoing - Doing all fire door works in the home
FAP002 | Emergency Lighting | Annual/monthly testing evidence must be current | High | Update emergency lighting log and chase contractor report | High | Registered Manager | 2026-07-05 |  | Contractor report received and dashboard renewal updated | Director | Complete | Green | Certificate available
FAP003 | Fire Drills | Horizontal evacuation drill evidence required | High | Complete day and night drill including compartment movement and lessons learned | High | Registered Manager | 2026-07-20 |  | Drill evaluation signed and actions closed | Director | Not Started | Yellow | Staff undergoing training once again - 10/07/2026
FAP004 | Fire Marshal Training | Fire marshal training to be recorded for staff | Medium | Enter staff fire marshal training dates and expiry dates | Medium | Registered Manager | 2026-07-10 | 2026-06-30 | Training matrix checked and expired certificates flagged | Director | In Progress | Yellow | No Staff - Unable to do with works currently being completed in the home
FAP004 | Fire Equipment | Needs replacing | High | Fire company to bring new fire equipment | High | Provider | 2026-07-15 |  |  |  | In Progress | Yellow | Waiting for Fire company to provide new equipment
Formulas:
RAG = IF([Status]="Complete","Green",IF(AND([Target Date]<>"",[Target Date]<TODAY()),"Red",IF([Target Date]<=TODAY()+7,"Orange",IF([Target Date]<=TODAY()+30,"Yellow","Green"))))
RAG = IF([Ref]="","",IF([Status]="Complete","Green",IF(AND([Target Date]<>"",[Target Date]<TODAY()),"Red",IF([Target Date]<=TODAY()+7,"Orange",IF([Target Date]<=TODAY()+30,"Yellow","Green")))))

## Fire Marshal Training
Fire Marshal Training Register
Staff Name | Role | Fire Marshal Training Date | Expiry Date | Days Remaining | Practical Assessment | Evacuation Competency | Trainer | Competent | Status | RAG | Comments
Niranjala Dissanayake | Health Care Assistant | 2026-04-13 | 2029-04-13 | 1018 |  |  |  |  | Current | Green
Chelsee Booth | Health Care Assistant | 2026-04-13 | 2029-04-14 | 1019 |  |  |  |  | Current | Green
Paula Merry | Manager | 2026-05-13 | 2029-04-15 | 1020 |  |  |  |  | Current | Green
Nathan Thomas | Health Care Assistant | 2026-04-13 | 2029-04-16 | 1021 |  |  |  |  | Current | Green
Joel Jose | Health Care Assistant | 2025-12-10 | 2029-04-17 | 1022 |  |  |  |  | Current | Green
Firos Latheef | Health Care Lead | 2025-12-19 | 2029-04-18 | 1023 |  |  |  |  | Current | Green
Kathleen Evans | Health Care Assistant | 2025-12-10 | 2029-04-19 | 1024 |  |  |  |  | Current | Green
Sahil | Deputy Manager |  | 2029-04-20 | 1025 |  |  |  |  | Current | Green
Haritha Sasidharan | Team Leader | 2025-12-10 | 2029-04-21 | 1026 |  |  |  |  | Current | Green
Abhina Soundaraj | Health Care Lead | 2025-12-05 | 2029-04-22 | 1027 |  |  |  |  | Current | Green
Carol Foss | Domestic | 2025-10-19 | 2029-04-23 | 1028 |  |  |  |  | Current | Green
Harikrishnan Mohanan Nair | Health Care Lead | 2025-12-05 | 2029-04-24 | 1029 |  |  |  |  | Current | Green
Formulas:
Days Remaining = IF([Expiry Date]="","",[Expiry Date]-TODAY())
Status = IF([Expiry Date]="","Missing",IF([Expiry Date]<TODAY(),"Expired",IF([Expiry Date]<=TODAY()+30,"Due Soon","Current")))

## Fire Training Matrix
Fire Safety Training Matrix
Staff Name | Role | Fire Safety Date | Fire Safety Expiry | Fire Marshal Date | Fire Marshal Expiry | Horizontal Evacuation | PEEP Awareness | Fire Panel | Night Procedure | Extinguisher Awareness | Overall Status | RAG | Next Due | Comments
Niranjala Dissanayake | Health Care Assistant |  |  | 2026-04-13 | 2029-04-13 | [5 empty] | Incomplete | Red
Chelsee Booth | Health Care Assistant |  |  | 2026-04-13 | 2029-04-14 | [5 empty] | Incomplete | Red
Paula Merry | Manager |  |  | 2026-05-13 | 2029-04-15 | [5 empty] | Incomplete | Red
Nathan Thomas | Health Care Assistant |  |  | 2026-04-13 | 2029-04-16 | [5 empty] | Incomplete | Red
Joel Jose | Health Care Assistant |  |  | 2025-12-10 | 2029-04-17 | [5 empty] | Incomplete | Red
Firos Latheef | Health Care Lead |  |  | 2025-12-19 | 2029-04-18 | [5 empty] | Incomplete | Red
Kathleen Evans | Health Care Assistant |  |  | 2025-12-10 | 2029-04-19 | [5 empty] | Incomplete | Red
Sahil Sahil | Deputy Manager |  |  | 0 | 2029-04-20 | [5 empty] | Incomplete | Red
Haritha Sasidharan | Team Leader |  |  | 2025-12-10 | 2029-04-21 | [5 empty] | Incomplete | Red
Abhina | Health Care Lead |  |  | 2025-12-05 | 2029-04-22 | [5 empty] | Incomplete | Red
Carol (Domestic) | Domestic |  |  | 2025-10-19 | 2029-04-23 | [5 empty] | Incomplete | Red
Harry | Health Care Lead |  |  | 2025-12-05 | 2029-04-24 | [5 empty] | Incomplete | Red
Formulas:
Fire Marshal Date = IF([Role]="","",'Fire Marshal Training'!C4:C15)
Fire Marshal Expiry = IF([Fire Marshal Date]="","",'Fire Marshal Training'!D4:D15)
Overall Status = IF(COUNTBLANK([Fire Marshal Date]:[Extinguisher Awareness])>0,"Incomplete",IF([Next Due]<TODAY(),"Expired",IF([Next Due]<=TODAY()+30,"Due Soon","Current")))

## Fire Drill Register
Fire Drill Register
Date | Shift | Scenario | Compartment / Area | Staff Lead | Staff Involved | Residents Involved | Horizontal Evacuation Completed | PEEP Followed | Time Taken | Issues Found | Actions Raised | Signed By | RAG
2026-06-20 | 11am | Sitting in the office | Room 4 | Dursha | NA | NA | Yes - Done a walk to create a Horizontal evacuation plan for staff and residents | Peeps not in place | 30 seconds | Hard to identify with Zones on fire panel. | Changing fire alarm from L2 to L1 on 22nd June 2026 | Dursha Krishan | Red
2026-06-23 | NA | NA | NA | NA | NA | NA | NA | NA | NA | Fire Alarm works being completed | Fire Alarm works being completed | Dursha Krishan | RED

## Drill Evaluation
Drill Evaluation - Lessons Learnt
Date | Scenario | Alarm Heard | Panel Checked | Correct Zone Identified | Staff Communication | Residents Moved Safely | Roll Call Completed | 999 Call Simulated | Lessons Learnt | Action Required | Score % | RAG | Completed by | Signed | Date
2026-06-20 | Fake Smoke in Room 4 | Yes | Yes | Yes | NA | NA | NA | Yes | Yes - Change from L2 fire alarm to L1 | Yes | 40 | Red |  | Dursha Krishan | 2026-06-30

## Emergency Lighting
Emergency Lighting
Date | Area / Light Ref | Monthly Functional Test | Annual 3 Hour Test | Defect Found | Action Taken | Target Date | Completion Date | Verified By | Next Due | RAG
2022-06-20 |  | Yes |  | No | NA - All emergency lights working |  |  | Dursha Krishan | 2026-07-20 | Green

## Fire Alarm Tests
Fire Alarm Tests
Date | Call Point / Zone | Time | Audible Throughout | Panel Reset | Faults | Engineer Contacted | Next Weekly Due | Completed By | RAG
2026-06-21 | 4 | 11:30am | Yes | Yes | NA | Changing from L2 to L1 | Completed after new alarm installed |  | Red

## Fire Door Register
Fire Door Register
Door No | Location | FD Rating | Self Closer | Smoke Seals | Intumescent Strips | Hinges | Latch | Gap OK | Signage | Damage | Overall Pass/Fail | Action Required | Target Date | Completion Date | RAG

## Fire Equipment
Fire Equipment
Asset Ref | Equipment Type | Location | Service Date | Next Service Due | Visual Check Date | Defect | Action | Owner | RAG
FE001 | CO₂ Fire Extinguisher | Kitchen | 2026-03-01 |  | 2026-06-30 | Yes | Replace CO₂ extinguisher | Responsible Person | Red
FE002 | Fire Blanket | Kitchen | 2025-03-01 |  | 2026-06-30 | Yes | Replace expired fire blanket | Responsible Person | Red
FE003 | CO₂ Fire Extinguisher | Laundry Room |  |  | 2026-06-30 | Yes | Install/Replace CO₂ extinguisher | Responsible Person | Red
FE004 | CO₂ Fire Extinguisher | Cellar | 2026-04-01 |  | 2026-06-30 | Yes | Replace CO₂ extinguisher | Responsible Person | Red
FE005 | Fire Blanket | Upstairs Flat | 2025-03-01 |  | 2026-06-30 | Yes | Replace expired fire blanket | Responsible Person | Red
FE006 | CO₂ Fire Extinguisher | Boiler Room | 2025-04-01 |  | 2026-06-30 | Yes | Replace expired CO₂ extinguisher | Responsible Person | Red

## PEEP Register
PEEP Register
Resident | Room | Mobility Level | Equipment Needed | Staff Required | Horizontal Evacuation Route | Refuge / Safe Area | Last Reviewed | Next Review | Family / LPA Involved | RAG | Comments

## Weekly Fire Audit
Weekly Fire Audit
Week Commencing | Fire Alarm Test Done | MCP Rotated | Fire Doors Checked | Exits Clear | Emergency Lights Visual | Extinguishers In Place | PEEPs Current | Training Issues | Actions Raised | Compliance % | RAG

## Incident False Alarm
Incident False Alarm
Date | Type | Area | Description | Cause | Immediate Action | Investigation Completed | Learning Identified | Action Owner | Target Date | Completion Date | Verified By | RAG

## Management Review
Management Review
Month | Actions Reviewed | Overdue Actions | Renewals Due | Training Compliance % | Fire Drill Completed | False Alarms | Lessons Learnt | Manager Sign Off | Director Sign Off | Overall RAG

## Reg Evidence Index
Regulatory Evidence Index - Location Only / No Evidence Embedded
Ref | Category | Evidence Required | Regulation / Guidance | Location of Evidence | Responsible Person | Review Frequency | Last Reviewed | Next Review | Status | RAG | Comments
FIRE001 | Fire Safety | Fire Risk Assessment | Fire Safety Order / CQC Safe / Reg 15 / Reg 17 | Fire Folder / Digital Folder | Registered Manager | Annual |  |  | Missing | Red | Record folder path only; do not embed evidence
FIRE002 | Fire Safety | Fire Action Plan | Fire Safety Order / CQC Safe / Reg 15 / Reg 17 | Fire Folder / Digital Folder | Registered Manager | Monthly |  |  | Missing | Red | Record folder path only; do not embed evidence
FIRE003 | Fire Safety | Weekly Fire Alarm Tests | Fire Safety Order / CQC Safe / Reg 15 / Reg 17 | Fire Folder / Digital Folder | Registered Manager | Monthly |  |  | Missing | Red | Record folder path only; do not embed evidence
FIRE004 | Fire Safety | Emergency Lighting Tests | Fire Safety Order / CQC Safe / Reg 15 / Reg 17 | Fire Folder / Digital Folder | Registered Manager | Annual |  |  | Missing | Red | Record folder path only; do not embed evidence
FIRE005 | Fire Safety | Fire Alarm Service Certificate | Fire Safety Order / CQC Safe / Reg 15 / Reg 17 | Fire Folder / Digital Folder | Registered Manager | Annual |  |  | Missing | Red | Record folder path only; do not embed evidence
FIRE006 | Fire Safety | Fire Door Inspection | Fire Safety Order / CQC Safe / Reg 15 / Reg 17 | Fire Folder / Digital Folder | Registered Manager | Monthly |  |  | Missing | Red | Record folder path only; do not embed evidence
FIRE007 | Fire Safety | Fire Drill Records | Fire Safety Order / CQC Safe / Reg 15 / Reg 17 | Fire Folder / Digital Folder | Registered Manager | Annual |  |  | Missing | Red | Record folder path only; do not embed evidence
FIRE008 | Fire Safety | Fire Training Records | Fire Safety Order / CQC Safe / Reg 15 / Reg 17 | Fire Folder / Digital Folder | Registered Manager | Annual |  |  | Missing | Red | Record folder path only; do not embed evidence
FIRE009 | Fire Safety | PEEP Register | Fire Safety Order / CQC Safe / Reg 15 / Reg 17 | Fire Folder / Digital Folder | Registered Manager | Annual |  |  | Missing | Red | Record folder path only; do not embed evidence
FIRE010 | Fire Safety | Fire Extinguisher Service | Fire Safety Order / CQC Safe / Reg 15 / Reg 17 | Fire Folder / Digital Folder | Registered Manager | Annual |  |  | Missing | Red | Record folder path only; do not embed evidence
FIRE011 | Fire Safety | Means of Escape Checks | Fire Safety Order / CQC Safe / Reg 15 / Reg 17 | Fire Folder / Digital Folder | Registered Manager | Monthly |  |  | Missing | Red | Record folder path only; do not embed evidence
FIRE012 | Fire Safety | False Alarm Register | Fire Safety Order / CQC Safe / Reg 15 / Reg 17 | Fire Folder / Digital Folder | Registered Manager | Annual |  |  | Missing | Red | Record folder path only; do not embed evidence
FIRE013 | Fire Safety | Fire Incident Investigation | Fire Safety Order / CQC Safe / Reg 15 / Reg 17 | Fire Folder / Digital Folder | Registered Manager | Annual |  |  | Missing | Red | Record folder path only; do not embed evidence
FIRE014 | Fire Safety | Hot Works Permits | Fire Safety Order / CQC Safe / Reg 15 / Reg 17 | Fire Folder / Digital Folder | Registered Manager | Annual |  |  | Missing | Red | Record folder path only; do not embed evidence
FIRE015 | Fire Safety | Contractor RAMS | Fire Safety Order / CQC Safe / Reg 15 / Reg 17 | Fire Folder / Digital Folder | Registered Manager | Annual |  |  | Missing | Red | Record folder path only; do not embed evidence
FIRE016 | Fire Safety | Fire Safety Policy | Fire Safety Order / CQC Safe / Reg 15 / Reg 17 | Fire Folder / Digital Folder | Registered Manager | Annual |  |  | Missing | Red | Record folder path only; do not embed evidence
FIRE017 | Fire Safety | Management Review Minutes | Fire Safety Order / CQC Safe / Reg 15 / Reg 17 | Fire Folder / Digital Folder | Registered Manager | Monthly |  |  | Missing | Red | Record folder path only; do not embed evidence
Formulas:
Status = IF([Next Review]="","Missing",IF([Next Review]<TODAY(),"Overdue",IF([Next Review]<=TODAY()+30,"Due Soon","Current")))

## Lists (hidden)
Status
Not Started | Critical | Green | Yes | Day | Low
In Progress | High | Yellow | No | Night | Medium
Awaiting Verification | Medium | Orange | N/A | Morning | High
Complete | Low | Red |  | Afternoon | Very High
Ongoing |  | Grey |  | Weekend
Closed
Deferred