Date:

Name of person completing: 						Signature:

| Location – enter here |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Monthly check cycle |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Question | Tick one |  | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N |
| In standby/normal use mode is the green light visible? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is the light fitting and any conduit intact? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Does the light operate during the emergency test? (fish key or power off) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual check cycle (in addition to above) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Question |  | Tick one | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N | Y | N |
| During the emergency test, do the lights stay illuminated for 3 hours or more? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Print additional pages as needed.

ACTION PLAN

| No. | Required action | Person responsible | Date for completion | Date reviewed / manager’s signature |
| --- | --- | --- | --- | --- |