| Name of Service: |  |
| --- | --- |
| Person Undertaking Audit: |  |
| Date of Audit: |  |
| Total Score: - More than 12 (90%) = OUTSTANDING - More than 10 (75%) = GOOD - More than 7 (55%) = REQUIRES IMPROVEMENT - Below 7 (55%) = INADEQUATE (REQUIRES URGENT ATTENTION) **ALL NON-COMPLIANT AREAS NEED AN ACTION PLAN** |  |

Scoring: 1 for Yes (fully met) and not applicable (NA) 0 for No which includes partially met

| Item No. | Audit Item | Fully met (Yes) score 1 | Not applicable (NA) score 1 | Not fully met (No) score 0 | Comments (note room numbers where appropriate) |
| --- | --- | --- | --- | --- | --- |
| Paperwork (must apply in every case) |  |  |  |  |  |
|  | Have all Service Users who need a special mattress, e.g. an airflow mattress got one? |  |  |  |  |
|  | Have all Service Users using special mattresses got an entry in their care plan identifying the reasons for the use of them? |  |  |  |  |
|  | Where air mattresses are in use, is there evidence that the settings have been calculated according to the Service User’s needs and manufacturer guidance? |  |  |  |  |
|  | Where air mattresses are in use, is there evidence that the settings are checked regularly to ensure they are correct? |  |  |  |  |
|  | Is there evidence that the cleanliness of the mattresses is checked regularly e.g. by care staff using a register? |  |  |  |  |
| The mattress and fitting (must apply in every case) Room number: |  |  |  |  |  |
|  | is the mattress the correct one for the bed? |  |  |  |  |
|  | Is the mattresses in a good condition, e.g. free from tears, rips or damage? |  |  |  |  |
|  | Where necessary is a mattress extender in use, e.g. for taller Service Users? |  |  |  |  |
|  | Is the mattress cover intact and sealing as is should? |  |  |  |  |
|  | Is the mattresses cover / mattress clean? |  |  |  |  |
|  | Is the mattress cover impenetrable to water?* |  |  |  |  |
|  | On compressing the mattress by hand, can the base of the bed be felt anywhere along its length? ** |  |  |  |  |
|  | Does the mattress give off an offensive odour? |  |  |  |  |

*

Undo the zip and place a sheet of absorbent tissue between the top of the mattress and the cover.
Refasten the zip.
Make an indentation in the mattress over the area where the tissue is located and pour about 100ml of water into it.

Rub the surface for about a minute and then mop up the water.
Remove the paper and check for wetting.
Repeat on the reverse side of the mattress.

**

Adjust the height of the bed so it is at the same level as the tester’s hips.

Link hands to form a fist and place them on the mattress.

Keep elbows straight and lean forward, applying the full body weight to the mattress.

Repeat the hand compression at intervals along the entire length of the mattress.

ACTION PLAN

| No. | Required action | Person responsible | Date for completion | Date reviewed / manager’s signature |
| --- | --- | --- | --- | --- |